SUGGESTIONS MADE IN THE EAST ZONE CORE COMMITTEE WORKSHOP CONDUCTED BY SNEA(I), ON 17-07-11 AT COMMUNITY HALL ,O/o.The GMT,BSNL,TANJORE:

Electrical:

I ) Energy saving opportunities from SMPS power plant and Packaged Air Conditioners:

Based on the Energy audit  study  conducted in various BSNL exchanges the following initiatives are proposed for optimizing the energy consumption in the building.

- By way of switching OFF the excess modules in the Power plant

- Replacing of faulty thermostat and Maintaining the conditioned area temperature at 230C

Switching OFF the excess modules in the Power plant:

- Four power plants are working for various Exchange in this building

- The total load of the power plant is 400 KW. This is 25.4% of total connected load.

- In some power plants modules are working in excess than the justified level

- By way of switching of Excess modules the expected energy saving per year is

30240 units. (Calculation sheet enclosed)

- Demand will reduce by another 3.52KVA.

- The expected savings in amount is Rs.1, 75,392 / year.

- Since it is a no cost measure it can be implemented immediately

Package AC Units – Maintaining  23o C by using proper thermostat:

- In most of the Exchanges Package AC units are operated below 23oC. In some Exchanges it is operated even at 18oC.

- As per Corporate office guide lines the Temperature shall be maintained not below 23oC.

- Readings taken at one exchange and cost benefit analysis for operating it 23oC is enclosed here with.

- In order to maintain the Temperature at 230C proper thermostat setting is required.

- By way of providing electronic thermostat this problem can be easily addressed.

- Life of compressors will be increased.

- By providing Electronic thermostat and maintaining temperature at 23oC expected saving  for a Package Ac units is given in table.

Recommendations:-

- Excess modules in SMPS may be switched off to avoid no load losses.

- These modules may be put into circuit in cyclic operation.

- This may increase the life of the Module.

- Frequent failure of modules thus avoided.

- Maintaining the temperature of switch room 23oC.

- Providing Electronic Thermostat for maintaining proper temperature.

Conclusion:-

Since Power plant and Package Ac units contributes major load in Telephone Exchange   These Equipment may be maintained properly.

| PERFORMANCE EVALUATION OF POWER PLANT |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sl.No | Description | Make | Type | Capacity | Total No. of Modules | No. of modules working at a time | INPUT | OUTPUT |  |  | Efficiency in(%) | Battery capacity |
|  |  |  |  |  |  |  | Power in KW | Voltage (in DC) | Current (in DC) | Power consumption in KW |  |  |
| 1 | TXM,BB,DLC | Himachal Exicom | SMPS | 1800A | 14 Nos | 11 nos | 17.06 | 53.4 | 288 | 15.38 | 90.1% | 2x3000AH |
| 2 | OCB MSU | ITI | SMPS | 1600 A | 16 Nos | 16 nos | 47.27 | 52.5 | 827 | 43.42 | 91.9% | 2x4000 AH |
| 3 | GSM | Himachal Exicom | SMPS | 3000A | 30 Nos | 27 nos | 43.46 | 53.2 | 664 | 35.32 | 81.3% | 2x5000AH |
| 4 | AXE | Ericsson | SMPS | 1400 A | 14 Nos | 7 nos | 4.47 | 54 | 71 | 3.83 | 85.8% | 2x2000AH |

| Description | TXM,BB DLC | OCB MSU | GSM | AXE |
| --- | --- | --- | --- | --- |
| DC Current for Switch | 288 A | 827 A | 664 A | 71 A |
| DC current for Battery charging | 600 A | 800 A | 1000 A | 400 A |
| Total DC current required | 888 A | 1627 A | 1664 A | 471 A |
| Capacity of Each Module | 100 A | 100 A | 100 A | 100 A |
| Total no. of Module Justified | 9 Nos. | 16 Nos. | 17 Nos. | 5 Nos. |
| No. of Modules working at present | 11 nos | 16 Nos. | 27 Nos. | 7 Nos. |
| Excess Module available | 2 nos | 0 nos | 10 nos | 2 nos |
| Energy loss in individual modules | 0.15 KW | 0.24 KW | 0.30 KW | 0.09 KW |
| Expected energy saving by way of switching off the modules/hr | 0.31 Kwh | 0.00 Kwh | 3.01 Kwh | 0.18 Kwh |
| Expected units saving/day | 7.33 Kwh | 0.00 Kwh | 72.31 Kwh | 4.36 Kwh |
| Expected units saving/month | 220 Kwh | 0 Kwh | 2169 Kwh | 131 Kwh |
| Expected units saving/year | 2640 Kwh | 0 Kwh | 26028 Kwh | 1572 Kwh |

Calculation of Energy saving by way of switching OFF Excess modules

| Total Energy Savings/year | 30240 Kwh |
| --- | --- |
| Expected amount of saving /year ( @ Rs.5.80) | Rs. 175392 |
| Total Energy Savings/year | 30240 Kwh |
| Expected amount of saving /year ( @ Rs.5.80) | Rs. 175392 |

| Description | Performance at present | Performance expected after rectification |
| --- | --- | --- |
| No of Ac units working | 3 nos | 3.0 nos |
| Average Total TR Delivered | 24 TR | 21 TR |
| Average Total Power Consumption | 42 KW | 42 KW |
| Total Running hrs /day | 24 hrs | 20 hrs |
| Total No.of units consumption/hr | 42 units | 42 units |
| Total No.of units consumption/day | 1003 units | 840 units |
| Total No.of units consumption/month | 30089 units | 25200 units |
| Total No.of units consumption/year | 361066 units | 302400 units |
| Total cost of Energy @ Rs. 5.8/unit/year | Rs.2094180 | Rs.1753920 |
| Expected total Units saving/year | 58666 units |  |
| Expected total amount saving/year | Rs.340260 |  |
| Expenditure for Electronic Thermostat for 8 nos @ Rs.2000/each | Rs.16000 |  |
| Pay back period | 0.56Months |  |

Cost- Benefit Analysis

Average Tonnage delivery of these units are 8 TR

If the Units are working properly 2 nos. Ac units  are sufficient

Thermostat are not functioning  and Room Temp is 18.90C

If the thermostat is set right and conditioned area  temperature is maintained at 230C the savings will be expected as  below.

II ) ENERGY CONSERVATION AT GSM SITES

Sample Energy audits were conducted for more than 25 GSM sites to arrive the efficiency of GSM power plant and to identify the energy saving opportunities.

Observation on Power plants

  - It is observed that in some places GSM switches are co-located with WLL / RSU exchange.

  - In these sites GSM is provided with a separate single phase power plant with a capacity of 8x25 A with 4-5 modules in working condition.

  - The Co-located WLL / RSU exchange is also catered with 4x50A three phase power plants with 2-3 modules in working condition.

  - GSM exchange is provided with 2sets 400 AH batteries

  - Similarly WLL / RSU exchange is also provided with 2sets of 400 / 600AH batteries.

  - The current consumption of GSM is between 19Amps to 40Amps.

  - The current consumption of WLL / RSU is between 5Amps to 15 Amps.

  - The single phase power plant provided for GSM is either Amararaja or XL telecom in most of the places.

  - Efficiency of these power plants is between 88-98%

  - Whereas three phase power plants are provided for WLL Exchange which is DACS / ITI

  - Efficiency of these power plants are between 60-75%.

  - In most of the rural areas two phase supply is available for 12-16 hrs, three phase supply is available for 6-8 hrs. Total power cut for 2 to 4 hrs.

  - The WLL exch. Power plant will not switch on during two phase supply.

  - Engine is switched on during this time.

  - The  maximum current  consumption put together (GSM+WLL/RSU) is  around 40 to 50A DC

  - The charging current will be maximum 80A (40A for each set)

  - Total current is around 130 A (DC)

  - So 6 modules of 25A capacity may be provided in GSM power plant to cater both GSM and WLL load.

  - Since the batteries are 2x400AH capacity, they have to with stand minimum 20 hrs.

  - So Engine need not be required to switch ON because Total power shut down will not be more than 4 hrs.

Observation on Air-Conditioning System:

  - Most of the BTS sites are provided with 2 nos. 1.5 TR S/T W/T AC units.

  - Generally these AC units are working satisfactorily barring minor defects such as filter cleaning, Low CFM, Low gas.

  - Most of the sites are maintained between230C- 250C.

  - It is inferred that when the temperature of the rack goes above 40oC, the GSM rack automatically switches OFF and when the temperature comes normal level it automatically switches ON.

  - Based on this observation it is concluded that generally cards are not becoming faulty because of rise in temperature.

  - As per corporate office guide lines these sites can be maintained at 300C.

  - In most of these sites Thermostats are not working otherwise it has kept in low range thus compressor is not tripping.

Recommendations

    - In co-located site three phase power plant catering for WLL / RSU may be removed and the load may be transferred to GSM power plant. Which is single phase

    - As these sites are having 4 nos.400AH Battery sets, Two sets of 400 AH capacity battery set may be removed.

    - If the efficiency of the battery is doubtful 3sets of 400AH battery may be provided and 1 set of 400 AH may be removed and reinstalled in some other site.

    - The GSM Power plant (Single phase) may be connected in good / healthy phase. (I.e. this phase will be always available  during two phase/three phase)

    - Co-located sites are provided with 2 nos.15 KVA EA sets. As the total load of co-located site is less than 9 KVA, One EA set is sufficient to cater the entire load. So all the loads may be transferred to one EA set to reduce diesel consumption.

    - Thermostat may be set right kept in working condition and the temperature range may be set at maximum. So that Energy savings can be achieved and compressor may come for a longer life.

    - Life Expired AC units may be scrapped as it is consuming more energy and delivering less output.

    - New energy efficient AC units may be provided.

    - Installation of Free cooling system as per corporate office guidelines

Benefits expected

- One power plant can be dispensed.

- The energy consumption of that power plant is absolute saving

- One/Two sets of battery can be dispensed and it can be used in other sites there by resource s can be utilized effectively.

- Since the GSM power plant is having higher efficiency the energy consumption for whole exchange will be considerably reduced. (These power plants are designed for operating for a Wide range of voltage.)

- If the battery is in good condition running the Engine can be avoided. Which is in turn reduces the diesel consumption and related issues.

- By setting thermostats to maximum range minimum of 3-5% savings in existing energy consumption is expected in each site.

Challenges to be faced

- In most of the sites though 2 sets of 400 AH batteries are provided these batteries are expected to cater the load for minimum 20 hrs. But these batteries are not withstanding for even half an hour.

- Maintenance of AC units

Crux of the problem

- It shall be ensured that battery sets has to deliver it output as per the

standards.

- Connecting the  single phase power plant in good/healthy phase

- Maintenance of AC units at 26oC. Keeping thermostat at working condition.

III ) Energy audit as Business for BSNL

Why Energy Audit ?

The main aim of Energy audit is

- To determine the ways to reduce energy consumption per unit of product output

- To lower operating cost

- Optimize the use of energy for effective energy management

- To minimize energy costs / waste without affecting production & quality

- To identify the energy conservation opportunities

- To minimize environmental effects

- To set  benchmark (reference point) for different equipment

- To identify the specific energy consumption of the equipment

- To evaluate the performance of the equipment

.

Need for the audit

In any type of industry the top three operating expenses are Energy, men (Labor) and material. Among these the energy is the potential cost saving component,

So Energy Audit will help to understand more about the ways energy and fuel are used in any industry, and help in identifying the areas where waste can occur and where scope for improvement exists.

This audit will focus on energy cost reduction, preventive maintenance and quality control which are very important for production and utility activities.

This audit will help  in analyzing the cost of various  type of energy, availability of energy, reliability of the  available energy ,  optimizing  the energy requirement, identifying  the energy conservation technologies and retrofit for energy conservation equipment.

Type of Industries to be audited

Energy Intensive Industries and other establishments specified as designated consumers by Bureau of energy efficiency is to be audited

- Aluminium

- Fertilizers

- Iron and Steel

- Cement

- Pulp and paper

- Chlor Alkali

- Sugar

- Textile

- Chemicals

- Railways

- Port Trust

- Transport Sector (industries and services)

- Petrochemicals, Gas Crackers, Naphtha Crackers and Petroleum Refineries

- Thermal Power Stations, hydel power stations, electricity transmission companies and distribution companies Commercial buildings or establishments

Scope of the energy audit

The Scope of energy audit is verification, monitoring and analysis of use of energy including submission of technical report containing recommendations for improving energy efficiency with cost benefit analysis, identifying the economic viability of the product, an action plan to reduce energy consumption and recommendations.

Energy audit as Business for BSNL

Already BSNL is having Enterprises business wing which is providing telecom solutions to various IT companies and other Government organizations. As an integral part of the business we can provide energy solutions to them by way of conducting energy audit to their firm.

While offering Telecom solutions we can offer them to support on the designing aspect and capacity selection of UPS, Air conditioners Lights and fans and Engine alternators for their equipment  with a nominal cost . The cost can be included in the bid. Even if we do at nominal cost it will be benefit for BSNL.

Further lot of government organizations are calling tenders for conducting energy audit to their firm/client. We can also participate and conduct energy audit at a reasonable cost.

Already Electrical wing in Kerala is conducting Energy audit for High court, LIC and banking sectors and earning for BSNL.

IV ) General:

Recommendations on Electrical Wing Issues

- Honourable Prime Minister of India has set a target for energy conservation of 10 % and BSNL has set a target of 20% which is practically achievable.

- Energy Conservation Measures implementation on a larger extent.

- No cost measures

- Low cost measures

- High cost measures

- Contract demand rationalization of Substations

- Power factor improvement

- Switch OFF stand by Transformer

- Maintaining 23 Degree temperature in switch room. BSNL HQ/DoT has instructed to maintain 23 ± 3 degree in switch rooms and to maintain 30 degree in BTS rooms. For every rise in one degree, there will be 3 percent reduction in EB expenditure. Electronic thermostat which has high accuracy can be used for setting temperature in Package AC units for effective control.

- Since the AC units and Power plants constitute more than 65 % of the exchange loads, the concentration should be on these major components.

- Only Star rated AC units should be used whenever the old units are replaced.

- Free cooling system: 100 % implementation for BTS sites wherever outdoor temperature is less than 30 Deg throughout the year and for other BTS site 25 % implementation. The cost of the Microprocessor based free cooling system is about Rs.40,000 with the monthly saving of minimum Rs.5,000 per BTS.

- Switching OFF excess modules in SMPS can result in to a significant saving since the power plant load is nearly 45% of the total exchange load. The modules required for working DC load current and for battery charging alone can be considered.

- External Works: External construction works along with Civil wing can be undertaken in a larger way especially in Govt/PSU sectors. Energy auditing of buildings of other organizations such as State Govt, Central Govt, PSUs etc can be undertaken as is being done in Kerala Circle.

- Conversion of EB tariff from commercial to Industrial tariff  as in Maharashtra Circle.

- Conversion  of  Conventional  bulb  into  CFL  Lamp.

- Replacement  of  Electronic Choke   wherever  necessary

Closing down the Electrical Stores & Streamlining the  procurement of materials to prevent financial loss to BSNL

As of now Electrical Stores like A/C units, light fixtures, fans and Cables are being procured through DGS & D rate contracts, stocked in stores, and issued to works as and when the need arises.

Of late it is seen that the rates of DGS&D are much closer to the market rates and in some cases like A/C units the cost is higher than that of the reputed manufacturers and also the materials available in the local market are far more superior and suited for our installations besides the inherent advantages listed below:

- Market price is less than DGS&D.

- Advantages of Off-Season rates can be availed.

- Installation can be done by local & authorized dealers.

- Availability of good service dealers locally.

- Ease of claims on warranty and quick response.

- Ready availability of spares, which is almost absent with the DGS&D firms

- Items can be procured from reputed brands, thus having flexibility in the makes of equipment and wide range of models.

- Latest models can be procured as & when launched in the market, thus taking advantage of the latest technology

- AC units purchased from the open market are guaranteed for 6 years by the reputed manufacturers like Voltas, LG etc (Prescribed life of AC units is 6 years as per BSNL orders).

- Can be procured at rates less than market, rate if we go in for competitive tenders for bulk quantities.

- Some manufacturers are even offering buy-back arrangement for the old used units which will definitely fetch a higher price than that offered for auction through MMTC or other accredited agencies.

- AMC can also be entered along with the bulk purchase order, thus ensuring the trouble – free performance and quality spares from OEM dealer at lesser cost compared to the present system.

- Manufacturers can be empanelled for supply of units based on proto-type approval, which can be reviewed periodically, as done for Package AC units.

Disadvantages of DGS & D items:

- Rates are much higher than market rates.

- Rates once fixed are not revised for almost a year, hence advantage of price reduction.

- Bad performance of the equipments / items procured through the DGS&D rate contracts

- Frequent failures.

- Poor response for the service calls from the DGS&D firms.

- Adverse remarks and negative feedback for these items from the exchange maintenance authorities.

- DGS&D purchased AC units are guaranteed for One year only.

It is not denied that in earlier days, the stores were needed in view of urgent and enormous requirements due to huge new construction activities and installation of large number of RSU / Main exchanges and the paucity of suppliers/vendors/dealers in the local markets and the time consumed in the procurement.

Also a lot of working capital is blocked in the stores which may work out roughly Rs.100 crores per annum.( Rs.70 Lakhs for each stores and minimum 7 stores per telecom Circle). As we know, that due to intensive competition from private telecom players, the wise decision of BSNL will be to reduce the blocking of money in non moving items and put to the benefit of the Organization.

With the changing environment, ready availability of almost all the electrical items with the reputed manufacturers and their local vendors /dealers and also due to the day to day reduction in the rates due to market competition, it is sure that BSNL will be benefited financially.

The Civil wing administration has taken a policy decision to close down its stores long back.

It is also pertinent to mention here that BSNL has already issued orders, stopping purchase of all stores (except Electrical items) through DGS&D for the above said reasons. Hence it is suggested for stopping the procurement of Electrical items through DGS & D firms and instead draw up rate contracts with reputed manufacturers.

Besides the core committee also requests for closing down the existing electrical stores as its operation is totally in fructuous besides causing the recurring expenditure, due to rental of storage space, Depreciation, locking of capital, expenses for watch and ward and also enormous burden on the existing JTO(E)s in maintenance of stores, due to large scale shortage of JTO(E)s.

Civil:

Utilization of Manpower available in Civil, Electrical and Architecture wings:

- By Merging these wings with Telecom Mainstream, they can be utilized for Marketing, maintenance of Buildings, PowerPlant, Battery and AC plants etc. The Present officials, who are working in the above fields, can be utilized purely for Telecom technical areas. The establishments for the different wings will no longer be required. By this way huge expenditure involved in maintaining the establishments of different wings will be curtailed.

- Commercial utilization of Vacant lands

- In most of the BSNL buildings, vertical extensions are possible. The buildings which could be commercially utilized may be extended to its ultimate level. By this way value of the asset will increase over the period of time and also BSNL will also get revenue.

- Effective Maintenance such as structural repairs and other periodical maintenance works of BSNL buildings regularly to avoid the huge expenditure if it is attended on later stage. Expenditure involved to maintain the buildings will enhance the value of the asset and it will serve its full lifetime.

- Civil and Electrical wing has to re think about maintaining high standards ( Civil - CPWD ).

Space Audit : ( Kumbakonam SSA )

SDE  offices  working  in  rented buildings  at  Sembanarkoil, Kuttalam  & Thirupanandal  shall be shifted  to  the  Departmental  Building  available  at  these  places  itself. Thiruvengadu SDE  office  was  already shifted  to  departmental  building  but  the  rented building is yet to be made over to the building owner. The  General Manager  Office  itself is  functioning  in  rented Building which  expenses  about  1.5Lakhs / month  as  Rent.

Nearly  about  10 ( Ten )  IQs  are  available  at  Kumbakonam  alone. ( Tansi Site – 4 , MBM Premises – 2 IQs ( one at MBM building & 2nd at  Old Tk Xge Building ), Swamimalai – 2 Nos

Old  Telecom Quarters ( Bhakthapuri  Street ) – 2 Nos. Actual requirement of IQs are to be analyzed keeping in mind the  expenses being carried out for IQs in the name of  electricity bills, care taker salary etc. The  STR  equipments  already  shifted  to  MBM  Main Exchange along with Indoor staff office.  The  Remaining  staff are utilizing the entire first floor of STR building for which EB bill is being paid by SSA.

Space audit shall be conducted with a separate team and with mutual consultation, un wanted IQs can be closed and  office accommodation  can be re arranged. By doing this recurring expenditure can be reduced.

Space Audit : (  Trichy SSA )

Old Call centre of Tamilnadu at Trichy shall be merged with the new Call centre at Chennai without dealy. This merger will help BSNL to get a large accommodation in DATX building and there by many CMTS projects which were diverted from TRICHY can be brought to TRICHY. TRICHY BILLING section is functioning in a rented building, which is incurring app  Rs 1 lakh per month. This section shall  be shifted to DTax building after the closure of Call centre.

Space Audit : ( Cuddalore SSA )

The vacant quarters can be  given to other PSU / Central / State Government employees. Our retired staffs are also willing to occupy our vacant quarters.  But the modalities / guidelines are not clear.

Lending our vacant sites: In Cuddalore  SSA enormous space is available in Cuddalore  Sipcot Exchange,  Marakanam -  in coastal area and also in ECR road. Now days vacant places are given for rent for keeping container transport. We can also lend our vacant spaces for rent.

In CDL SSA, we are paying nearly RS. 30,000/- per month as rent to the warehouse for keeping our stores, mostly obsolete ones. Per year we are spending app Rs. 3,60,000/- . If we construct a closed shelter with light metal sheets in a low cost budget, all the stores which are essential to kept away  from water, can be put inside  the shelter.

Property Tax :

DGM (P&EF), TN Circle office has given instruction on 16-07-2011, to pay property tax, where ever claims are raised by local bodies. The instructions are given referring Corporate office letters dated 14-08-2001, 16-05-2005 and 26-07-2005. But Kerala High court judgment dated 01-12-2007 favours BSNL. Further Supreme court order on Civil 9458-63 / 2003 / Rajkot municipal Corporation verses UOI and others, instructs to pay service charges on par with local state govt. (ie.) To pay service charges only that too like state govt pays it to local body. OM of Ministry of UD, GOI dated 17-12-2009 also instructs to SC order. OM of MOC dated 6th Jan 2010 also endorses the Min of UD order. Hence payment of property tax is to be analysed once again.

CDMA WLL:

- All VPT connection has been converted as WLL Prepaid . First Recharge with a value of Rs.69/-.  Bonus amount Rs.10/- will be added every month through which we can make 10 O/G calls free to test the VPT working condition and to avoid  Zero Meter Reading.

- After full migration of VPT connection into WLL Prepaid, concerned  section JTO / TTA / TM shall ensure the functionality of VPT and also regular top-up / Recharge.

- EVDO cards having facility of all India roaming except MTNL New Delhi & MTNL Mumbai serving area. For EVDO cards, MTNL Mumbai & Newdelhi  area shall be covered by extending roaming facility.

- Wll Prepaid CDR can be checked through the following URL http://218.248.69.125.

- Recently IP Tax connectivity has been extended from different SSA Media Gate Ways. It is a very good decision for routing of calls through Soft Switch at Ciombatore and Chennai .Password management should be known to BSNL Officers but ZTE is reluctant to extend the password facility to BSNL personnel.

- CRBT: Activation through SMS to “56700” is not effected.  Also it is observed that  after giving SMS we have to wait minimum 6 hours for activation. This activation duration should be reduced to minimum in consultation with ON MOBILE Communication.

- CDMA 1X BTS: In case of  1X WLL  BTS failure , the escalation of failure through SMS is not possible. In consultation with ZTE Team, this  problem  should be solved.

- All WLL SMPS power supply units shall be replaced  with inbuilt battery and charger. There should be no SMPS charger left at Sub premises, action shall be taken to recover and scrape.

- NO spares available for replacement of  faulty EVDOs.

- CDMA  external cases  to be attended by CFA wing only.  JTOs / TTAs / TMs should invariably visit the sub offices at least once in two months.

- TMs can sell RCVs / TUs and  C Topups also.

- EVDO CDMA backup routers for BANKS is  not available.

Discrepancies in LBS ( Location based service /  RTMS - Resource Tracking and Management Services ):

EB wing marketed RTMS service to some elite customer despite the fact that many connectivity issues in the network. Now the customers bitterly complaining about our poor service. Though we are having  two SMLC in TN Circle instead of one,  we are not in a position to ensure the flawless service. Vendors also not interested to solve the issue because already AT completed for all NEs. At present, it is felt that there is no control over the  vendors.

Many VAS services not included in the AT schedule, hence AT not carried out for Services like SDP & LBS.

Why VAS not included in AT schedule? To be investigated by the appropriate level. At present we have integration issue with SMLC and Huawei NEs. Now, the ball is with the Vendor.

SMLC(Serving Mobile Location Center)

SMLC solution provides the location information to GMLC. SMLC collects the required measurement data from network and makes calculations to give best accurate position value based on enhanced algorithms

GMLC (Gateway Mobile Location Centre)

GMLC solution enables GSM operators and service providers to request and receive location information from the network to be used in location based services.

LCS ( LoCation Services)

LCS solution provides privacy management based on subscribers preferences such as by whom, when, where to be located. LCS also has a map engine and digital map to manipulate and display geographically referenced information.

CFA:

- SMS based FRS system : Fault booking and  fault status enquiry by subscriber,  fault ordering, fault set right information by TM,  after testing fault test report and closing of cases – all to be made through SMS by integrating the CDR FRS system with an SMS server at circle level. This should be coupled with SMS based on duty and off duty system

- Higher level coordination and  action  with other departments is required to prevent damage to cable system.  Since majority of the faults are cable faults separate task force to be earmarked to attend cable faults.

- Phone mechanics has to perform the jointing work and as per requirement arrangements shall be made for assistance.  Supervision slackness should be avoided at all levels.

- Existing cable faults should attend and also recovery of cable can also be done if it is cost-effective.

- Pending cable damage claims from private operator’s is not being realized. The private operator cable damage claims were previously adjusted in the  POI amount. Now it is not possible to adjust the damage claims in the POI amount, since it was challenged by M/s. Reliance. Huge amount is yet to be collected. This issue is to be addressed.

- Modernize landline switch with NGN within 1 year and go for prepaid plans to solve billing, cash collection, O/S dues and TRA accounting issues.

- Rearrange the landline tariff by switching over to per minute /per sec pulse rate  equal to mobile tariff and the free calls equal to the amount of rent paid. (  for Rs 180 rent the free call should be 400 and call rate to be Re0.40 for on net and Re .50 off net  per minute ). More plans are to be launched to cater to the heavy callers. ( eg  plan 500 with 1250 free calls and Re.30  per minute after free calls ).

- Provision of NPCs. / BB etc. for mtce. purpose the necessary Jelly filled cable for 10 / 20 / 50 / 100 / 200 pr Jeely filled cable is absolutely necessary for maintenance purpose.

- Poor quality jelly is being supplied

Rearranging the landline tariff :

At present the tariff for the landline calls are very high compared to mobile phone tariff.

|  | Case 1 | case 2 | case 3 | case 3 | case 4 (rural) |
| --- | --- | --- | --- | --- | --- |
| Monthly rent | 120 | 120 | 180 | 180 | 110 |
| Free calls | 50 | 50 | 50 | 50 | 75 |
| Calls made by sub | 250 | 500 | 250 | 500 | 500 |
| Call rate | 1.00 | 1.00 | 1.00 | 1.00 | 0.80 |
| Bill amount | 353 | 629 | 419 | 695 | 518 |
| Mobile bill for similar use | 122.5 | 245 | 122.5 | 245 | 245 |
| Excess amount the sub has to pay per month | 230.5 | 384 | 296.5 | 450 | 273 |

Note:

The exact amount may marginally vary. The call duration is taken as 1 minute and call charges are taken as Re1.00 per call in urban area.

Even though CDMA Tech is spectrum efficient, less SAR value  and good coverage etc the public perception is CDMA is inferior to GSM. Similarly the sub do not take into account the 3 minute per call throughout India but calculate the rate for a call made to his relative/friend’s  mobile. The landline to landline calls are very minimum

From the above table it is clear that the tariff of land line is very high and so nobody uses landline and only keeps for number/sentiment/ office purpose etc that too for incoming purpose only.

So in order to make people feel comfortable to speak in land line the tariff has to be rearranged at least for heavy users by introducing either per sec or per minute billing with free usage minutes of 200% of rental amount.

The landline tariff may be arranged per minute basis as  in  the following table to make at par with mobile tariff.

| NEW PLANS PROPOSED | Plan 120 | Plan 175 | Plan 300 | Plan 400 | Plan 500 | Plan 750 |
| --- | --- | --- | --- | --- | --- | --- |
| Monthly rent | 120 | 175 | 300 | 400 | 500 | 750 |
| Free calls @ 1 minute/call | 250 | 350 | 750 | 1000 | 1250 | 2000 |
| Call rate per minute on net | 0.40 | 0.40 | 0.40 | 0.30 | 0.30 | 0.20 |
| Call rate per minute off net | 0.50 | 0.50 | 0.50 | 0.40 | 0.40 | 0.30 |

BB:

- In colleges for NMICET projects where already OF connectivity is available for leased lines  instead of providing direct connections from exchange install a DSLAM of 8/16 port and extend the connections from there.

- Automatic testing every 15 minutes of all DSALMs and fault reporting to the concerned In charges of the DSLAMS through SMS by installing a server at circle level / SSA level.

- Bringing all the exchanges under Ring and centralized monitoring the Ring system at SSA HQ.

- We have to concentrate on Land line, Broadband and leased lines which are yielding high ARPU. Long duration payment BB scheme should be given importance and it can be promoted since this plan is yielding 28% interest. Some methodology shall be explored for changing this option before the commitment period or for changing to some other plan with commitment period.

- At present there is no mechanism to check whether a Prepaid BB Customer keeps his account active or not. Hence one port is reserved and kept idle for non active prepaid BB customer.  A methodology to be explored to de activate the idle prepaid BB customer’s port after optimum cooling period.  So that DSLAM ports can be utilized judiciously.

- After BB disconnection spare jumpers shall be removed periodically.  Working BB connection is to be reckoned on regular basis. Spare ports  are to be identified by In charges and intimated to CSCs and other sales wing  on regular basis.

- Broadband disconnection is on of the important aspect, which needs to be addressed. Reasons for which almost leads to poor maintenance of last mile copper leads, Faulty CPE etc. Customer is expecting quality service. Spare CPE and adapter is required.

- At present multi vendor procurement of DSLAMs is being done. This causes lot of in conveniences at the time of relocation for expansion. Hence DSLAMs of a particular vendor alone be allotted to one SSA which can resolve the issues of cascading.

- Another point of concern to be emphasized is the quality of the CPEs supplied recently by new vendors like Syrmatech, Teracom etc. These CPEs have compatibility issues with some DSLAMs of P2.2project. Also adapters supplied are of low quality. This leads to poor quality of service and also displease the customers.

- DSLAMs supplied under 3M project houses exchange side splitters at the MDF point. Till recent time faulty splitters were duly replaced by the vendors but  now vendors are not replacing faulty ones. They are reporting that splitters are consumables  and not covered under warranty/AMC .This is to be addressed.

- Problem caused by overload of DNS makes lot of inconvenience to the customers.

- Annual bills for renewal of ILL should be checked for payments

- Every month NMEICT connections are being disconnected for non payment, even though annual payment collected by BSNL.

- Provision of BB KIOSKs under USOF scheme will earn Rs. 20,000 per quarter.  This area is to be concentrated more. But the BB KIOSK subscriber feels that the charge per hour is less and this is a non profitable business.

- A software MOTIVE, for dealing TR59 and TR69 complaints should be discontinued. As this will definitely save money to BSNL. This “MOTIVE will not support Window7, Vista, MAC, Linux and other platforms and majority of the sub cannot use it. Also time taken by it to restore is enormous .This causes additional work to the staff dealing BB complaints. It is learnt that we are paying Rs. 1000 per connection per year. Previously in DOTSOFT we have to activate manually but in CDR, MOTIVE  is activated irrespective of which operating system the sub is having in PC. Tremendous pressure is applied by the Corporate office to implement this application.

- MPLS nodes sould be installed in all the LDCAs. This will be economical and reduce the OPEX as BB,ILL,WIMAX and now 3G are to be connected to this Broadband IP network. Also QOS will be good, if International  Gateway is augmented.

- An important factor to be taken is “ IPV6 “ plat form. It is reported that DSLAMs supplied by HUAWEI ,etc will not support IPV6 implementation and UTSTAR will support after up gradation. ZTE is yet to respond to the call. Also some of the routers in BNG also does not handle IPV6 request. These problems need to be addressed in time.

- Wimax can be provided in technically not feasible areas, but the customer feels that modem cost is very high. Some solution is required to solve this issue.

Leased Line:

- MLLN V.35 modems  are required for Kumbakonam  SSA. V.35 modem is essentially required to provide Leased Circuits with Higher Band width of 2 Mbps. At present requirement of KMB SSA is 5 Nos. Available ten numbers of  STU-160 MLLN Modem cannot be used in KMB SSA due to non-compatibility with the existing MLLN Node. Hence, this STU-160 Modems 10 Nos can be diverted to needy SSAs and in turn KMB SSA may be given 5 Nos. V.35 MLLN Modem.

CSC / CSR :

For better performance and to address customer needs properly, CSC / CSR shall be manned by newly recruited TTA’s and JTO’s in the front end

GSM:

- The percentage of student community using BSNL mobile is hardly 2-3%.  In the recently modified students plan, the plan is not attractive. The plan should be without mandatory Rs 28/- recharge. For new connection 3000 free SMS  and 50 MB data  per  month for 3 months and after that for Re 33/=( say)  students SMS  pack 3000 SMS is to be free and  additionally 50MB Data to be free. Since the students are the future leaders , schemes to attract students to be launched similar to YUVA Rajasthan plan ( in which local CUG within college and reduced calling rate within university  etc) in Tamil Nadu.  VAS services are to be known to Each and every JTO/SDEs for marketing the services.

- More number of VAS has to be introduced in 3G.

- ISD prepaid Booster plans are not popularized and marketed.

- Franchisee network has to be concentrated in all SSA s for sale of GSM products. Franchisee manager / RM / RMC should work effectively and check availability of stock of BSNL products.

- Commissions should not be paid to the Franchisees for the business done by our staff.

- Unlimited plan with attractive tariff has to be implemented for 3G customers.

- DSAs may be exempted from paying the deposit amount, since  they are purchasing cards after paying cash or DD in advance . In addition, C Top up / SIM may also be issued to them without any deposits.

- Insisting for PAN no. / Deposit etc. is the main hurdle for enrollment of DSA / OSS etc.

- Sales staff shall be selected by selection committee on merit basis and talent basis.

GSM - NWOP CM

- Most of the  BTS failures are infra related issues like PP, BTY,E/A .

- Weak Battery cells /sets are to be replaced &  Power plant module faults are to be attended then and there for proper charging of Batteries.

- For better maintenance of BTSs, either BSS team has to be attached with SSA or Infra has to be attached to BSS wing.

( Merging of IMPCS units with SSA – At present  Ist level BTS site maintenance already carried out by SSA CM NWOP wing. BTS fault occurrence is Very less.  Vendor AMC is also available. In GSM Network Supply, Installation, Testing, Commissioning, Annual Maintenance, and RF Optimization itself carried out by vendor only. Hence IMPCS unit BSS wing may be attached with SSA. )

- All 3G BTSs are to be upgraded to 14.4 Mbps.

- BSS/ RF team of CMTS has to be provided with proper Mobile Handsets for measuring 3G parameters in the field. ( At present Not available)

- Most of the E/As installed in the field has to be utilized. ( At present E/As are kept idle since there is no staff to operate.)

- In the forthcoming Phases of GSM, all infra items have to be purchased and have to be installed by our BSNL directly.

- The INFRA indigenously manufactured can be purchased by BSNL itself and the equipments which are to be necessarily imported may be purchased from vendors.  Eg.: In GSM all the BTS, BTY, POWERPLANT were purchased as a package from HUWAEI ( where as BTY POWER PLANT are at cheaper cost with AMC  pack in India itself )

- RF team for Optimisation shall be essentially formed in all SSA head quarters.

- FREE cooling system has to be done as per the specification of Electrical wing. Free cooling system along with AC units has to be done to maintain temperature in the sites. Many problems are being faced due to non maintenance of Temperature in the BTS sites. GSM sites are not delivering proper service due to High temperature.

- In city BTS sites where more than one BTS (one 900+one 1800 + Node B) is housed, the required temperature is to be maintained to avoid BTS outage. In these sites Free cooling should be avoided for better performance of BTSs.

- For reducing the electricity charges we can go for Out Door BTS for new sites and slowly the existing room sites may be converted to Out Door BTS sites.

STR

- Performance  of new equipments shall be checked well before the purchase rather than testing at the field after installation (eg : UTL  equipment). The vendor is performing R & D operation at the site to meet the requirement.

- Hardware requirements in new systems is to be planned after getting input from field and equipments must fulfill the actual needs. ( Eg.: FE PORT, GE PORT, STM 1 PORT etc. )

- Since ring route is established fully and  cable route KM is also on the higher side, staff strength to look after the outdoor route is to be increased (TTA /JTO / SDE ).

- Temporary advance to STR TEAM on need basis is to be given immediately. It is very difficult to maintain the existing system without allotting funds for operational expenditure.

IP sites:

- IP sites energy bills are to be passed after visiting each site by verifying the correctness of EB reading and Diesel consumption.(Most of the IPs are charging more than the actual)

- IP outage penalty deduction has to be done in the field itself.

- IP outage penalty cap of RS 10,000/- has to be modified (MSA agreement).

- Energy model submitted by TAIPA ( circulated for comments in the field) should not be accepted ( which is in higher side)

- Selection of IP Sites in remote rural areas is non-profitable. For an IP site, in rural area, we are paying at least Rs.40, 000/- to Rs.45000/-. whereas revenue generated from rural IP is very much less.

- In semi urban and urban areas, if we are unable to fix NBSNL site. we shall go for IP sites. Because any deviation from the reference location (Lat/Long) will affect our network,  which leads to coverage problems and also affect revenue generation.

- Where ever BSNL alone is having the tower ( like BHEL campus Trichy,  Valparai CBE SSA etc) and BSNL gets more revenue, in those places infra sharing should not be given. Some of the officers recently retired from BSNL and presently working in private operator’s company are trying to influence and change these BSNL towers as IP sites. We should be more vigilant. Such officers are to be exposed and there pension should be stopped as per the prevailing rules.

OFC:

Supply of OTDR, Splicing Machine, Optical Power Meter, 2Mb/s Tester to each SDCA HQ for  attending of OF cable / OF System fault and  supply of vehicle is required at SDCA level. This will minimize the duration of fault and un necessary shunting between SSA H/Q to SDCA H/Q.

CAF Management related:

Consumer Mobility marketing wings are  vigorously working to increase Prepaid SIM sales. Customers are getting Prepaid SIMs through our supply channel CSRs / franchisees / DSAs  / Melas  / Road shows after submitting the duly filled up CAF. Mobility FM is making address entry in Sancharsoft and handing over CAF to CAF manager of the SSAs . CAFs are being verified by CAF manager for its correctness in Sancharsoft. All the process has to be completed within Seven days, failing which the sold prepaid SIM will be disconnected by the sancharsoft.  In reality due to various reasons, some delay is noticed in making entries in sancharsoft within the stipulated period of 7 days.  Hence after 7 days these indicators will be disconnected without the notice of the customer which is tarnishing the brand image of BSNL.  Further getting reconnected is another Herculean task. In general, disconnected customers are booking complaint through call centers. All these complaints  are forwarded to the technical teams like IN / HLR. The technical team is calling the customer provided alternate contact number is available and requests him to contact the nearest BSNL CSR and submit CAF.  But in fact the application was already submitted by the customer at the time of purchase of SIM.  Customers are feeling bad and simply throwing away our SIM. It is not possible for the technical team to trace the where about of CAF or analyse the pending entry of CAF in sancharsoft.  Hence the technical team is closing  complaint with some stereo type reply instead of solving the customer complaint.  This case is to be addressed in the right sense.

General:

- Monthly / Bimonthly bills may be served in the first week of every month in order to improve the collection efficiency.

- Arrangements is to be made for On line payment of all types of bills pertaining to Enterprise Business  to avoid  delay.

- AMC. for maintenance of C Dot MBM , OCB and other new tech .  switches shall be stopped immediately.

- Merger of MBMs, convertion as RSUs , Re-arrangement of TUs., LM / BM as per working connections will save  Electrical consumption charges.

- Project Sanjay is to be implemented in true spirit.

- Purchase of obsolete and out dated equipments shall be stopped .

- Summer Training for Engineering students, Special courses for college going students shall be given wide publicity.

- Since IP Tax already commissioned in most of the places Vendor training is must for better maintenance.

- GSM FWP instrument is worth full. To promote this GSM FWP, it can be supplied to BSNL employees on payment basis.

- In each SDCA head quarters one JAO or AO shall be posted to settle the customer billing complaints . Accounts officers shall be posted in Level  1 CSCs to settle the WLL Billing (CDMA) problems.

- Action should be taken to collect the outstanding dues instead of simply waiving off by HPC to achieve the target.

- TAC  shall be dispensed with.

- Work study has to be carried out.  Redeployment of staff ( To the maximum without changing  head quarters ) is to be done. Potential areas  like sales / marketing  / Data section / BB / MPLS area  should be given importance. Right person in the right section is the need of the hour.